Ficha Técnica:

YONUSA K156L - Kit of 5 black 3/4" profile posts, 1.2 meters long, featuring 6 line-post insulators for 6 lines with 15 cm spacing. Ready for field installation.

| Specification | Description |
| --- | --- |
| Post Profile | 3/4" Steel tube |
| Post Height | 1.20 meters |
| Insulators | 6 line-post (stand-off) insulators |
| Line Capacity | Supports up to 6 lines with 15 cm spacing between them |
| Color | Black |
| Kit Contents | 5 posts with 6 insulators each |
| Installation | Ready for field installation |